**Request for a Letter of Release/Clearance to Place a Water Main Extension Project into Operation**

1. **Submit the Clearance Form-FDEP Form 62.555.900(9).**

The Certification of Construction Completion and Request for Clearance to Place Permitted PWS Components into Operation must be fully completed.

1. Copy of Satisfactory Pressure Test Results demonstrating compliance with AWWA Standard Requirements-Test must be performed before bacteriological Analysis.
2. Copies of two (2) consecutive days of satisfactory bacteriological analysis (A.K.A. Main Clearance)-Samples are not valid if the tests were completed more than 60 days before the department received the results.
3. As Built required for Partial Clearance Certification and/or minor deviations from the original approved plans.
4. Copies of backflow preventer certification (if required).
5. Projects from Water and Sewer Department - Miami-Dade County must be submitted through e-Builder. Projects from other facilities must be submitted through email to [mariela.batista@flhealth.gov](mailto:mariela.batista@flhealth.gov).
6. Contact Florida Department of Health at 305-623-3548 for Certification fees.