Request for a Letter of Release/Clearance to Place a Water Main Extension Project into Operation

- Submit the Clearance Form-FDEP Form 62.555.900(9).

The Certification of Construction Completion and Request for Clearance to Place Permitted PWS Components into Operation must be fully completed.

- Copy of Satisfactory Pressure Test Results demonstrating compliance with AWWA Standard Requirements-Test must be performed before bacteriological Analysis.

- Copies of two (2) consecutive days of satisfactory bacteriological analysis (A.K.A. Main Clearance)-Samples are not valid if the tests were completed more than 60 days before the department received the results.

- As Built required for Partial Clearance Certification and/or minor deviations from the original approved plans.

- Copies of backflow preventer certification (if required).

- Projects from Water and Sewer Department - Miami-Dade County must be submitted through e-Builder. Projects from other facilities must be submitted through email to mariela.batista@flhealth.gov.

- Contact Florida Department of Health at 305-623-3548 for Certification fees.